## SaltInputs
Salt Economic Model Inputs
Item | Symbol | Units | Value | Scale Exp | Reference | Notes
Power |  | MW | 50
Storage time |  | hr | 7.5
TES System |  | M USD/350 MWh(t) | 38.4 |  | IRENA | NOT USED?
salt |  | M USD | 18.6 |  | IRENA | number of tons? Type?
storage tanks |  | M USD/350 MWh(t) | 6.6 |  | IRENA | energy dependent, relevant to steam accum. w nuclear
insulation materials |  | M USD/350 MWh(t) | 0.7 |  | IRENA | energy dependent, relevant to steam accum. w nuclear
foundations |  | M USD/350 MWh(t) | 2.3 | 0.7 | IRENA | energy dependent, relevant to steam accum. w nuclear
DELETE heat exchanges |  | M USD/350 MWh(t) | 5.1 |  | IRENA | DELETE?
heat exchanger & pumps |  | M USD/1750 MWh(t) | 30 | 0.8 | SAM | Scale factor is an input in SAM. Equiv. to 6 M USD/350MWh(t). Power dependent?
DELETE? pumps |  | M USD/350 MWh(t) | 1.6 | 0.7 | IRENA | DELETE?
balance of system |  | M USD/350 MWh(t) | 3.5 | 0.7 | IRENA | energy dependent, relevant to steam accum. w nuclear
Conventional Plant Components and plant system |  | M USD/350 MWh(t) | 52 |  | IRENA | NOT USED?
Power block |  | M USD/50 MW | 20.8 |  | IRENA | power dependent, relevant to steam accum. w nuclear
Balance of plant |  | M USD/350 MWh(t) | 20.7 |  | IRENA | relevant to steam accum. w nuclear
Grid connection |  | M USD/350 MWh(t) | 10.5 |  | IRENA | NOT USED?
total costs relevant to steam accum. w nuclear |  | M USD/350 MWh(t) | 56.2 |  | IRENA
energy dependent costs |  | M USD/350 MWh(t) | 14.7 |  | IRENA | NOT USED?
power dependent costs |  | M USD/350 MWh(t) | 20.8 |  | IRENA
total relevant costs for portioning balance of plant"""otal relevant cos" |  | M USD/350 MWh(t) | 65.26 |  | IRENA
NOT SURE WHAT TO DO WITH BALANCE OF PLANT